## Sheet1
Method of first- and second-order normal incidence
Measurement of wavelength of sodium D2 line
Slit spacing (m/line)
1.6667e-06
Theoretical λ (nm) |  | Theoretical λ (Å)
588.995 |  | 5889.95
Order | θ1 (deg) |  | θ2 (deg) |  | Δθ (deg)
1 | 99.05 | 0.016667 | 119.5167 | 0.016667 | 20.4667 | 0.033333
-1 | 117 | 0.016667 | 137.5167 | 0.016667 | 20.5167 | 0.033333
AVG |  |  |  |  | 20.4917 | 0.025
Observed λ (nm) |  | Observed λ (Å)
583.4519 | 0.71182 | 5834.5191 | 7.1182
Order | θ1 (deg) |  | θ2 (deg) |  | Δθ (deg)
2 | 119 | 0.016667 | 164 | 0.016667 | 45 | 0.033333
-2 | 118.5333 | 0.016667 | 74 | 0.016667 | 44.5333 | 0.033333
AVG |  |  |  |  | 44.7667 | 0.033333
Observed λ (nm) |  | Observed λ (Å)
586.8511 | 0.43697 | 5868.5107 | 4.3697
The second order measurement has the advantage of having a larger diffraction angle and therefore a smaller relative uncertainty. The first order measurement has the advantage that the first order peaks were slightly brighter and therefore easier to spot.
Method of minimum deviation
Measurement of wavelength of sodium D2 and D1 lines
Sodium D2 line
θ1 (deg) |  | θ2 (deg) |  | θmin (deg)
95.5333 | 0.016667 | 116.0167 | 0.016667 | 20.4833 | 0.033333
Observed λ (nm) |  | Observed λ (Å)
592.6681 | 0.96447 | 5926.6807 | 9.6447
Theoretical λ (nm) |  | Theoretical λ (Å)
588.995 |  | 5889.95
Sodium D1 line
Theoretical λ (nm) |  | Theoretical λ (Å)
589.592 |  | 5895.92
The precision of the measurement didn't allow me to compare the result for D2 to that of D1 since the theoretical values were closer together than both the uncertainty in my measurement and the true value and my measured value.
This method is, however, more accurate than the method of normal incidence since the method of minimum deviation doesn't depend on lining up the initial angle of normal incidence by eye.
Identification of unknown gas species
Gas species #1
Qualitative observations
The lamp glows in a light pink color.
There is a relatively dim violet line and a slightly brighter blue line just outside it. Further out, there are a couple much brighter green lines. The brightest line is an orange one of about 600nm.
Measurements of spectrum
θ0 (deg)
104.5 | 0.016667
Line | θ (deg) |  | Δθ (deg) |  | Observed λ (nm) |  | Observed λ (Å) |  | Observed intensity | Reported λ (nm) | Reported λ (Å) | Reported intensity
Violet | 120 | 0.016667 | 15.5 | 0.033333 | 445.3973 | 0.95784 | 4450 | 9.5784 | Very dim | 447.1 | 4471 | 25
Blue | 120.8167 | 0.016667 | 16.3167 | 0.033333 | 468.2432 | 0.95657 | 4680 | 9.5657 | Dim | 471.3 | 4713 | 30
Darker green | 121.65 | 0.016667 | 17.15 | 0.033333 | 491.4572 | 0.95521 | 4910 | 9.5521 | Bright | 492.2 | 4922 | 20
Lighter green | 122 | 0.016667 | 17.5 | 0.033333 | 501.1763 | 0.95462 | 5010 | 9.5462 | Bright | 501.6 | 5016 | 100
Orange* |  |  |  |  | 600 | 30 | 6000 | 300 | Very bright | 587.6 | 5876 | 500
* indicates value estimated qualitatively
Based on comparing our qualitative and measured observations with the reported data and the graph of the spectrum, I deduced that the unknown gas was helium.
Include spectrum graph of He in report